## Form
Vessel name
Calibration location (Latitude)
Calibration location (Longitude)
Calibration location bottom depth (m)
Calibration date (YYYY-MM-DD) (local)
| Frequency | Frequency | Frequency | Frequency | Frequency | Frequency
Instrument metadata
Instrument frequency (kHz)
Instrument transducer location
Instrument transducer depth (m)
Instrument transducer manufacturer
Instrument transducer model
Instrument transducer serial
Instrument transducer beam type
Instrument transducer orientation
Instrument transducer beam angle major (°)
Instrument transducer beam angle minor (°)
Instrument transducer psi (dB re 1 sr)
Instrument transceiver manufacture
Instrument transceiver model
Environmental metadata
Factory test tank temperature (°C)
Factory test tank salinity (psu)
Temperature at the transducer face (°C)
Salinity at the transducer face (psu)
Temperature at sphere depth (°C)
Salinity at sphere depth (psu)
Calibration metadata
Calibration aquisition method
Calibration processing method
Calibration accuracy estimate (dB)
Calibration report (url)
Sphere type
Sphere depth (m)
Transmit power (W)
Pulse length (ms)
Major axis angle offset (°)
Minor axis angle offset (°)
On-axis gain (dB re 1)
Adjusted instrument transducer psi (dB re 1 sr)
Sa correction factor (dB re 1)

## instrument_transducer_location (hidden)
Hull, kell
Hull, lowered keel
Hull, blister
Hull, gondola
Towed, shallow
Towed, deep
Towed, deep trawlnet attached
Ship, pole

## instrument_transducer_beam_type (hidden)
Single-beam
Single-beam, split-aperature
Multibeam
Multibeam, split-aperature

## instrument_transducer_orientati (hidden)
Downward looking
Upward looking

## calibration_acquisition_method (hidden)
Standard sphere, in-situ
Standard sphere, tank
Standard sphere, other
Reciprocity
Hydrophone
Seafloor reflection
Nominal
Intership

## calibration_method (hidden)
Section ‘4.1.2.1 Calibration.exe’ from Demer, D., Berger, L., Bernasconi, M., Bethke, E., Boswell, K., Chu, D., Domokos, R., et al. 2015. Calibration of acoustic instruments. ICES Cooperative Research Report No. 326. 133 pp.
Section ‘4.1.2.2 ExCal’ from Demer, D., Berger, L., Bernasconi, M., Bethke, E., Boswell, K., Chu, D., Domokos, R., et al. 2015. Calibration of acoustic instruments. ICES Cooperative Research Report No. 326. 133 pp.
Section ‘4.1.2.3 On-axis calibration’ from Demer, D., Berger, L., Bernasconi, M., Bethke, E., Boswell, K., Chu, D., Domokos, R., et al. 2015. Calibration of acoustic instruments. ICES Cooperative Research Report No. 326. 133 pp.

## sphere_type (hidden)
20.0 mm Tungsten carbide
21.0 mm Tungsten carbide
22.0 mm Tungsten carbide
38.1 mm Tungsten carbide
13.7 mm Copper
23.0 mm Copper
32.0 mm Copper
42.0 mm Copper
45.0 mm Copper
60.0 mm Copper
63.0 mm Copper
64.0 mm Copper